## Access Control QAQC
# | Inspection Item | Pass | Fail | N/A | Comments / Notes
A. Submittals & Design Review
1 | Access control riser diagram and door schedule approved and matches hardware and layout
2 | Reader types (prox, keypad, biometric), controller specs, and power requirements reviewed
3 | Locking hardware compatibility (fail-safe/fail-secure, strike vs. maglock) verified per code
B. Door Hardware Installation
4 | Electric strike, maglock, or motorized latch installed and aligned with door frame
5 | Request-to-exit (REX) sensor or button installed per location and height standards
6 | Door position switch (DPS) wired and positioned correctly
C. Access Control Panels & Power
7 | Control panel installed in secure location with UPS or battery backup
8 | Cabling to readers, locks, DPS, and REX routed in conduit or raceway with labeling
9 | All field devices terminated properly in control panel; fuses or breakers included
D. Programming & Testing
10 | Readers tested for authorized/unauthorized card access, door release
11 | Lock relays tested for correct logic with DPS and REX inputs
12 | Door held-open and forced-entry alarms tested and logged
13 | Time zones, user access groups, and holidays configured
E. Closeout & Documentation
14 | As-built riser diagram, door detail drawings, and panel layout submitted
15 | Commissioning log, event logs, and operator training completed
Code/Standard References:
• NFPA 101, UL 294, CSA C22.1, IBC 1010.1.9, CSA C282
• Manufacturer Specs: HID, LenelS2, Gallagher, Honeywell, Genetec, Axis, Bosch