## Landscaping QAQC
# | Inspection Item | Pass | Fail | N/A | Comments / Notes
A. Submittals & Site Prep
1 | Landscape drawings, plant schedule, and planting notes reviewed and approved
2 | Topsoil report (sieve analysis, pH, organic content) reviewed and approved
3 | Plant and sod material submittals (nursery source, species, size) reviewed
4 | Grading complete, debris removed, and irrigation sleeves installed
B. Soil, Mulch & Preparation
5 | Topsoil spread to required depth (typically 150–300 mm) and raked smooth
6 | Mulch installed to specified thickness (e.g., 75 mm) around trees and beds
7 | No mulch against tree trunks or plant stems
C. Planting & Sod Installation
8 | Trees planted at correct depth with trunk flare exposed
9 | Shrubs and perennials spaced per planting plan
10 | Sod laid tight with staggered joints and watered immediately
11 | Tree staking done securely and does not damage bark
D. Final Acceptance & Warranty Monitoring
12 | Final inspection of plant health, placement, and finish grade
13 | Irrigation system pressure-tested and zones verified prior to handover
14 | Landscape maintenance plan and warranty period (typically 1–2 years) confirmed
Code/Standard References:
• CSA Z614, ASTM D5268, A300 Tree Standards, City Landscape Specs, ISA Guidelines