## Toilet Accessories QAQC
# | Inspection Item | Pass | Fail | N/A | Comments / Notes
A. Material Verification
1 | Partition type (metal, plastic, phenolic, HDPE) and layout match submittals and architectural drawings
2 | Accessories (grab bars, dispensers, mirrors, hooks, bins) match finish schedule and spec
3 | Finish, color, mounting height, and orientation (left/right hand) confirmed
4 | Anchors and backing appropriate for substrate (drywall, CMU, tile, etc.)
B. Partition Installation
5 | Pilasters plumb, panels square, doors operate smoothly
6 | Gaps consistent and privacy maintained at front and between panels
7 | Mounting system (overhead braced / floor mounted / ceiling hung) matches spec
8 | Hardware tight, tamper-resistant, and complete
C. Accessory Installation
9 | Accessories mounted at correct heights and positions per accessibility code (ADA/CSA B651)
10 | Grab bars installed at correct length, height, and anchoring points
11 | Soap, paper towel, and toilet paper dispensers installed as per reflected room layouts
12 | Mirrors installed at correct height, securely anchored
13 | Baby change stations and waste receptacles installed per manufacturer instructions
D. Final Walkthrough
14 | All units clean, operational, and securely fastened
15 | No sharp edges, misalignments, missing parts
16 | Consultant and accessibility compliance inspection passed
Code/Standard References:
• NBC Part 3, ADA, CSA B651 – Accessibility & Mounting Heights
• ASTM A123, ASTM A167, NAAMM 500 Series, LEED
• Manufacturer Specs: Bobrick, ASI, Bradley, Hadrian, Scranton, Koala Kare